Production of Site/Time Specific Hourly Irradiances

---

Satellite Remote Sensing vs. Network Interpolation

Richard Perez, Robert Seals and Antoine Zelenka *

The University at Albany, Albany, New York.

* Swiss Meteorological Institute, Zurich, Switzerland

ABSTRACT

In this paper, we compare the accuracy of satellite-derived time/site specific hourly irradiances, with that of irradiances obtained via extrapolation and/or interpolation of nearby ground-measuring stations. A comprehensive study undertaken by the International Energy Agency [Zelenka et al., 1992] had addressed this question, but had limited its scope to daily total irradiances. The present study focuses on hourly data.

1. INTRODUCTION

Site/time specific irradiance data are needed to simulate the output of solar energy systems (e.g., PV) in relation to other time/site specific quantities that are indirectly related to the solar resource (e.g., the load requirements of a utility, a substation or a building). Standard climatological data such as typical years, or climatologically representative stochastic data may be appropriate for system design or for energy production calculations, but they are not sufficient to study a system's interaction with its intended end-use if there is any relationship between the two.

Fig. 1: Distribution of ground-truth stations

Because of the scarcity of irradiance measuring stations, the use of representative sites where irradiance data are measured or modeled has been a common practice for engineering calculations. In the USA, the National Solar Radiation Data Base [NSRDB, 1994] includes data for 239 locations which can be used to simulate systems throughout the country. However, whereas this practice may be acceptable for standard energy calculations, nearby site extrapolation may prove very inaccurate when site/time specific data are needed. Another source of irradiance data, remote sensing from geostationary satellites, although inherently less accurate than ground based-measurements, may be more suitable to generate site/time specific data at arbitrary locations and times.

2. EXPERIMENTAL DATA

2.1 Ground- based Solar Radiation Measurements

The ground truth network considered in this paper includes 12 stations in southeastern New York State and Massachusetts (see Fig. 1).

Ten of these stations - southern New York State and Massachusetts -- were operated by Ascension Technology (ATI) on behalf of NYSERDA [1990-95] and measured global, direct and diffuse irradiance with ATI-type rotating shadowband radiometers (RSR). One station located near the Albany Airport, operated by AWS Scientific on behalf of Niagara Mohawk Power Corporation [1990-1995] used a Michalsky-type RSR. The last station, located at the University at Albany [1991-1995], includes WMO first class measurements of global, direct and diffuse irradiance.

All data were carefully scrutinized through both automatic and visual quality control. In addition, instrument calibration throughout the network was verified, and if needed, corrected a posteriori on a monthly basis, to insure consistency throughout the network. Calibration verification was based on clearest-hours intercomparison of direct normal irradiance at all sites. The quality control and calibration control procedures have been described by Perez and Seals, [1995].

2.2 Satellite Data

The satellite data consist of intermediate resolution images from the visible channel of NOAA's geostationary weather satellite GOES 8. Ground resolution of these images in the considered region is of the order of 10 km latitude by 13 km longitude. Navigated images covering the north American continent and the Atlantic Ocean are distributed on an hourly basis trough the Internet Data Distribution System, [1995]. A portion of these images, covering the mid-Atlantic region of the US has been archived at our Center since May 1995 for research purposes. An example of the archived frames is shown in Fig. 2.

Fig. 2: Example of the northeastern US intermediate resolution visible frames from GOES-8 archived at our Research Center

3. METHODS

3.1 Extrapolation

Nearest neighbor extrapolation constitutes the simplest method of estimating radiation at a given point from an existing measuring site. It is also the only ground-based method available when, as in most of the world, the density of ground stations is low.

For this study, we analyzed a total of 66 pairs of stations extracted from our 12-station network.

3.2 Interpolation

The interpolation scheme evaluated in this paper is a weighted average gravity interpolation. The interpolated estimate is a weighted average of all surrounding sites within a given acceptance radius. The weights are a function of the square of the inverse distance from each station to the interpolated site (hence the term gravity). This interpolation method is deterministic, that is, the weights are assumed, a priori, to vary as a given function of the distance. More sophisticated interpolation methods such as kriging would reset the weighting scheme for each case, based on the current spatial structure of the radiation field (estimated from the network's stations). Gravity and other interpolation techniques are discussed in detail by Zelenka et al. [1992].

Interpolation accuracy is quantified in terms of RMSE by comparing each site's measurements to interpolated data from two or more of the other sites.

Because of the limited number of sites and the non-ideal distribution of stations in the network, and, in order to differentiate interpolation from extrapolation, we selected only a fraction of the possible interpolation combinations where the considered site would be reasonably well surrounded by the interpolating sites. A selection criterion based on the ratio between the average weighted interpolating distance D, and the average distance from considered site to the weighted barycenter of the interpolating sites X was used. Only combinations where D/X exceeded 1.75 were selected. The mathematical expression of D and X are given below.

D = i di wi

where di is the distance from each interpolating site to the considered site and wi is the assigned weight of each interpolating site.

X = { [i (xi -x) wi]2 +[i (yi - y) wi] 2 }0.5

where x, y, xi and yi are the Cartesian coordinates of the interpolated and each interpolating site respectively.

3.3 Satellite image-to-ground irradiance conversion

Satellite conversion algorithms are generally categorized into statistical or semi-empirical models and physical models. The former make use of the well known observation that atmospheric transmittance is linearly related to the planetary albedo (e.g., see Schmetz, [1989]) sensed by the satellite. The latter infer surface irradiance via physical simulation of radiation transfer through the atmosphere, sometimes using additional satellite-measurements such as IR and atmospheric water content, (e.g., see Gauthier et al., [1980], Pinker and Ewing [1985]).

Differences in performance between the two types of models have not been observed to be large (e.g., Schmetz, [1989], Whitlock et al., [1990]) because the primary source of model imprecision, the effect of cloud patterns cannot be rigorously modeled. The known advantage of physical models resides in the fact that they can operate without some local tuning required by statistical models, at least given the current developmental stage of the latter.

For this study, we consider a simple statistical satellite-to-ground irradiance model developed by Zelenka, [1995], after Moussu et al., [1989], and Schmetz, [1989]. Although we suspect that the choice of model is far from critical. It is briefly described below.

The model includes two basic steps.

The first step is to normalize all satellite pixels to a common solar position. The normalization function used is the optical air mass. In addition, since the model had been developed to work with METEOSAT featuring a linear-response visible sensor, an additional normalization was necessary here to account for the non-linear (quadratic) response of the GOES-8 visible sensor.

Fig. 3: Relative RMSE as a function of station extrapolation distance

The second step is to relate the dynamic range of the normalized pixels to a simple clear sky global irradiance model. For a given pixel, the satellite-derived irradiance is a fraction of the modeled clear sky irradiance, depending on its normalized value -- i.e., the darkest pixels at a given site correspond to clear sky conditions, while the brightest pixels correspond to heavy cloud conditions. Irradiances for heaviest cloud conditions are arbitrarily set at 2% of the clear sky values. Of course, the dynamic range is site (and time) dependent because the darkest pixels depend on the local ground albedo which tends to evolve over time and space (vegetation change, snow cover, etc.). At this stage of model implementation no attempt was made to account for evolving ground albedo. However, the model was "tuned" to Albany measurements in order to remove its overall bias. We expect to minimize the importance of this tuning as we further the implementation of the model and fully evaluate the behavior of the selected clear sky model for the region of interest.

The clear sky model is that developed by Kasten [1984] as an extension of his pyrheliometric formula [1980]. This model may be adjusted locally and seasonally by modifying the Linke turbidity factor. For this investigation, we used climatologically representative averages of monthly Linke turbidity factors for the Northeastern US.

4. RESULTS

4.1 Extrapolation

In Fig. 3 we present the relative root mean square error of extrapolation plotted as a function of distance in a variogram-like fashion. Each point represents a pair of stations in the network.

- As expected RMSE is found to increase with distance, asymptotically tending toward a noise level where relationship between sites becomes random.

- The tightness of the trend is quite remarkable and indicates that the considered northeastern US region is quite homogeneous in terms of solar radiation field structure.

- A relatively large extrapolation error (15%) persists at very short distances (4 km). This phenomenon sometimes characterized as "nugget effect" is a result of the discontinuous nature of hourly radiation spatial structures (i.e., cloud-blue sky). Hence, extrapolation, even from a nearby site, may not be satisfactory when the time/site specificity of the data is critical.

In Fig. 3, we have also plotted extrapolation RMSEs for daily irradiances, reporting the results of IEA Task 9 [Zelenka et al., 1992]. The daily data points come from the analysis of six radiation networks in Germany, Switzerland, Sweden, the northeastern, northwestern and southwestern US. The trend observed by Zelenka et al. showed that degradation with distance was not strongly site dependent. It is however strongly time-step dependent as we notice a marked increase in RMSE from daily to hourly extrapolations, with almost a tripling of the nugget effect.

4.2 Interpolation

RMSEs obtained for interpolation are plotted in Fig. 4 as a function of the distance from the closest interpolating site. Also plotted, for comparative purposes are extrapolation RMSEs presented above.

Fig. 4: Interpolation RMSE as a function of closest site distance

A small but noticeable improvement over extrapolation is apparent as distance increases. RMSE at short distances remains basically unchanged for short station distances.

This observation is probably a result of the fact that, in relation to extrapolation, interpolation is more efficient detector of large atmospheric patterns (e.g., passage of fronts) than of small scale cloud structures.

Satellite

Satellite global irradiance estimates obtained for the closest pixel to Albany from May 1995 to January 1996 were compared against hourly values centered on the satellite image time. The relative RMSE corresponding to the May 95-January 96 is 87 W/sq. m, that is 24.5% in relative terms, and well in line with earlier satellite evaluations for Albany [Perez et al., 1994].

Hence, in terms of RMSE, the satellite breaks even with extrapolation at 27 km (16 miles) as shown in Fig. 5. This is considerably shorter than the previously reported break- even distance for daily irradiance of 50 km, and quite consistent with our expectations [Perez et al., 1994]. Indeed, the main source of error for the satellite --determination of cloud thickness and turbidity -- is considerably less sensitive to the effect of time scale than the source of error for ground (inter)extrapolation -- spatial cloud structures.

This result is remarkable given the preliminary nature of the considered satellite algorithm that,

- did not account for evolving ground albedo,

- did not operate with a thoroughly validated clear sky model,

- did not account for pixel-sun geometry (i.e., the relevant pixel for a considered station may not always be the closest, but another pixel or a combination of the closest and other pixels, depending on the position of the sun in the sky),

- did not include a posteriori ground truth navigation (pixel position) verification.

It is interesting to compare the relationship between satellite-estimated irradiance and ground measured irradiance (Fig. 6) and the relationship between two stations exhibiting an RMSE of the order of the satellite's (Fig. 7). The noise patterns are similar overall, with a couple of interesting differences. The center core of the extrapolation pattern is tight and the distribution of outliers is gradual and quite symmetrical. The center core of points for the satellite is not quite as tight --likely a byproduct of the satellite's algorithm limitation in terms of turbidity estimation; outliers are both fewer and more scattered.

Fig. 5: Satellite prediction accuracy relative to ground-based extrapolation

Fig. 6: Satellite derived irradiance vs. hourly ground measurements in Albany

Addressing the source of error of these outliers may be a worthwhile avenue to explore to improve satellite models. Concerning this latter point, it is interesting to note that, when comparing satellite estimates against 10 minute ground truth values, the RMSE increases slightly to 27%. However when comparing the satellite estimates against any one of 10-minute measurements within half an hour of the satellite image time, the lowest achievable RMSE goes down to 17% -- that is of the order of the nugget effect mentioned earlier. During variable conditions, the satellite estimate is representative of the ground measurement at least at some point in time within the hour surrounding it.

5. ONGOING RESEARCH

Several avenues of research are being explored as a logical follow-up to this work, including:

- The investigation of other radiation components such as direct irradiance, tilted irradiance, illuminance, etc. As a preliminary finding of this effort, we present, in Fig. 8, the observed extrapolation RMSE of direct irradiance compared to global, showing a considerable error increase for direct;

- The evaluation of ground-aided satellite methods, whereby satellite estimates could be corrected using strategically located ground network stations;

Fig. 7: Comparative hourly global irradiance at two sites distant of 27 km

- The systematic improvement of the pixel-to-irradiance algorithm, including some of the obvious steps mentioned above;

- The comparative investigation of other satellite algorithms.

6. CONCLUSION

We compared hourly site/time global irradiances obtained via extrapolation and interpolation of ground stations, to that obtained by processing widely distributed satellite images with a preliminary test model representative of existing statistical models.

Results show that, for hourly data, the satellite becomes more accurate than a local ground station if the distance from the station exceeds 27 km (16 miles), down from a previously reported 50 km range for daily irradiances.

For a regularly spaced network, the break-even distance is estimated to be 45 km, which, for a country like the US, would represent close to one thousand stations.

Fig. 8: Relative extrapolation error of direct irradiance compared to global irradiance

ACKNOWLEDGMENT

This work is supported by NYSERDA (contract No. 4126-ERT-TERER-95, J. Harvey, Officer) and NREL (subcontract No. XAH-515-22-201, D. Renné, Officer). Many thanks to Ascension Technology, Inc., for their timely distribution of New York's radiation network data and to Niagara Mohawk Power Corporation and AWS Scientific for their irradiance data.

REFERENCES

Albany IDMP-ARM station(1991-1995). site description in IEA-SHCP Task 17-E's final report. IEA, Paris France.

Gautier, C., G. Diak and S. Masse, (1980): Simple Physical Model to Estimate Incident Solar Radiation from GOES Data. J. Climate Appl. Meteorol., 19, pp. 1005-1012.

Internet Data Distribution System. UCAR, Boulder, CO

Kasten, F., (1980): A Simple Parameterization of the Pyrheliometric Formula for Determining the Linke Turbidity Factor. Meteorol. Rundsch., 33, pp. 124-127.

Kasten, F. (1984): Parametrisierung der Globalstrahlung durch Bedeckungsgrad und Truebungsfaktor. Analen d. Meteorol. (Neue Folge), 20, pp. 49-50

Moussu, G., L. Diabate, D. Obrecht and L. Wald, (1989): A method for the Mapping of the Apparent Ground Brightness Using Visible Images from Geost. Satellites. Int. J. Rem. Sensing, 10-7, 1207-1225

New York State Energy Research and Development Authority's Southern New York State Solar Radiation Network (1991-1995). NYSERDA, Albany, NY

Niagara Mohawk's PV-DSM project at the Department of Military and Naval Affairs, Building (1990-1995). Project's Final Report. Niagara Mohawk Power Corp., Syracuse, NY.

NSRDB The National Solar Radiation Data Base. NREL/TP-463-5784 (1994). Natl. Renewable Energy Lab., Golden, CO.

Perez, R., R. Seals, R. Stewart, A. Zelenka and V. Estrada-Cajigal, (1994): Using Satellite-Derived Insolation for Simulation of Solar Energy Systems. Solar Energy, 53, 6, pp. 491-495

Pinker, R.T., and J.A. Ewing, (1985): Modeling Surface Solar Radiation -- Model Formulation and Validation. J. Climate Appl. Meteorol., 24, pp. 389-401.

Schmetz, J. (1989): Towards a Surface Radiation Climatology -- Retrieval of Downward irradiances from Satellites. Atmospheric Research, 23, 287-231

Whitlock, C.H., et al., (1992): Comparison of Surface Radiation Budget Satellite Algorithms for Downwelled Shortwave Irradiance. Proc. 7th AMS conf. Atm. Radaition, San Francisco, CA. AMS Boston, MA.

Zelenka A. (1995): Personal Communications

Zelenka A., G. Czeplak, V. D'Agostino, W. Josefsson, E. Maxwell and R. Perez (1992): Techniques for Supplementing Solar Radiation Network Data, Final Report of International Energy Agency Solar Heating and Cooling Program, Task 9 subtask 9D. Report IEA-SHCP-9D-1, available from Swiss Meteorological Institute, Zurich, Switzerland.